## Regulations and Guidelines
Ionising Radiations Regulations 2017 (IRR17)
Ionising Radiation (Medical Exposure) Regulations 2017 (IRMER17).
Ionising Radiation (Medical Exposure) (Amendment) Regulations 2018 (IR(ME)R18)
Public Health England (PHE) and Faculty of General Dental Practice (UK) (FGDP[UK]). Guidance notes for dental practitioners on the safe use of x-ray equipment. 2nd edition. London, UK: PHE and FGDP(UK); 2020
Faculty of General Dental Practice (UK) (FGDP[UK]). Selection Criteria for Dental Radiography 3rd edition (updated 2018). London, FGDP(UK); 2018.
Standards for The Dental Team: 2013 (updated 2019), General Dental Council, www.gdc-uk.org

## Audit (retrospective)
Clinical Audit for Dental Radiography | Date: | [13 empty] | Dentist Auditing: |  |  | Auditor GDC Number:
| Performer Name: (if different from Auditor) | [13 empty] | Performer Number: |  |  | GDC Number:
Record Number: | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Patient DOB:
Patient Initials:
Date Of Acceptance:
Date Of Completion:
Reason for attendance
[21 empty] | Number of Compliant Records | % Achieved
Was the image attached to the correct patient record and orientated correctly? | No | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 17 | 85
Frequency and Justification
For a new dentate patient, were appropriate radiographs taken? | No
For a recall/emergency patient, was there appropriate patient-specific radiographic examination?
Was the justification for the radiographic image recorded? | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | 10 | 50
Image Quality
Was a quality assurance grading recorded? | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | 3 | 15
Was there coning-off? | No | No | No | No | No | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No
Was there good contrast? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | No | No | No | No | No | No
Was there distortion? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No
For Bitewing radiographs (left and right images to be reviewed separately)
Was there interproximal overlap?
Were the crowns of any premolars and molars (where present) captured?
Was the inter-radicular area visible?
For Periapical Radiographs
Was the whole tooth visible?
Was sufficient apical bone visible?
Clinical Evaluation
Was there a clinical evaluation report recorded? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | 9 | 45
Summary
Was the image diagnostically acceptable? | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | 13 | 65 | Gold standard is that 95% of digital radiographs (90% of wet films) are recorded as 'diagnostically acceptable' (Grade 'A')
Was the quality assurance grading therefore recorded correctly? | Yes | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | Yes | Yes | Yes | Yes | Yes | 10 | 50
Was a repeat image taken?
For a repeated radiograph was the underlying reason recorded?
Outcome
Overall, were FGDP and PHE guidelines followed? (please refer to the Regulations and Guidelines tab)
Was the gold standard achieved?
List areas for improvement below.
1
2
3
4
5
Proposed date of next audit